Energy Demands

Learning Objectives

- Explain how a power station works

- List the fuels commonly used in power stations

- Explain what a Biofuel is

Renewable and Non-Renewable

Renewable energy sources can be replaced within a lifetime. Non-renewable energy soruces are not replaced and will eventually run out.

| Renewables | Non-Renewables |
| --- | --- |
| - Biomass - Wind - Solar - Geothermal - Hydroelectric - Wave - Tidal | - Coal - Gas - Oil - Nuclear |

Power Stations

Power stations are used to convert stored (potential) energy into electrical energy. This is easier to transmit and use. Most power stations turn a generator to make electricity. The commonest way to do this is by boiling water to make steam and then using the steam to turn a turbine.

They work like this:

Fuel Releases Heat -> Heat boils water to make steam -> Steams Turns a Turbine -> Turbine turns a generator -> Generator produces electricity

Fossil fuel power stations

Coal, oil and gas (the fossil fuels) are burned in power stations to produce heat. They also release carbon in the form of carbon dioxide.

Biofuel (Biomass) Power Stations

Biofuels use biomass (material from recently living organisms) as fuels.

The biomass can be burned directly, eg: straw, wood, nutshells, or fermented to produce a fuel to burn (sugar to produce ethanol or animal manure and sewage to produce methane gas).

Biofuels are renewable as they can regrow or are continually produced. They get replaced at the same rate that they get used.

Carbon neutral: as wood or straw or sugar grows, it takes in carbon as carbon dioxide for photosynthesis. When it is burned (or fermented and then burned), the same amount of carbon dioxide that it took in gets released. Overall, the amount of carbon in the atmosphere is unchanged so we use the phrase ‘carbon neutral’ for biofuels.

Using a Biofuel

| Type of Fuel | Start Temp of Water (*C) | End Temp of Water (*C) | Temp Rise of Water (*C) | Energy in Fuel (J) |
| --- | --- | --- | --- | --- |
| Digestive | 23 | 84 | 61 | 2562 |
| Beef Puff | 32 | 90 | 58 | 2436 |
| Shreddie | 33 | 58 | 25 | 1050 |

Nuclear Power Stations

- Heat in a nuclear power station is generated in a nuclear reactor

- Uranium-235 (or Plutonium-239) in the reactor core fissions and produces heat.

[Diagram representing control rods and a reactor core, creating heat, etc, etc, producing electricity]

- A coolant is passed over the fuel rods. It cools the rods down and gets heated itself. The hot coolant is then used to boil water to make steam

Advantages and Disadvantages of Nuclear Power

- Advantage: Releases almost no carbon dioxide (as nothing gets burned)

- Disadvantage: Produces radioactive waste

Wind Power

Wind turbines use the wind to turn a generator to make electricity.

[A wind turbine diagram showing the internals]

Wind is a renewable resource but wind turbines can be ugly and the wind doesn’t always blow.

Wave Power

Wave power uses the rising and falling motion of waves to generate electricity.

[A diagram of a wave generator]

Wave power is renewable but the energy is hard to collect and requires large structures which are expensive and may be hazardous. Wind moving over water causes waves. Wind, wave and hydroelectric power get their energy from the Sun originally.

Hydroelectric Power

Hydroelectric power uses falling water to turn a turbine. It is renewable but needs large areas of suitable landscape to create a reservoir and heat up water (water high up). The sun heating the sea causes evaporations. Wind carries the clouds of water vapour over high ground and this water falls as rain to flow down into rivers and reservoirs for hydroelectric power.

Pumped Storage

Many power stations are left running at night, even though most people are asleep. this means that there is more electricity being made than needed so some of it is used to pump water uphill as a way of storing the energy.

The water can be allowed to flow downhill at the time when there is a high demand for electricity.

Tidal Power

Water is trapped behind a barrage (a wide, low dam) at high tide. When the tide has gone out, the water is released turning turbines. The tides are mainly caused by the moon’s gravity, so tidal power is independent of the sun.

Solar Power

Solar cells convert sunlight directly into electricity. They are expensive and produce little power, so many are connected together.

Solar heating panels are panels that use the sun’s energy to heat water for washing and heating.

Solar power towers are thousands of flat mirrors are used to reflect the Sun’s energy to a single point. The energy is used to make steam to turn a turbine to make electricity.

Geothermal Energy

Natural radioactive decay, deep in the Earth heats the rock. In some places (usually places with volcanic activities, hot springs or geysers) the heated rock is close to the surface.

Water is pumped down to the rocks. When it comes back up it turns to steam and can be used to turn a turbine to produce electricity.

[Diagram showing a power station pumping cold water into the ground and hot steam coming back up]

The heated water can also be used to heat buildings.

Energy and the Environment (cont.)

Greenhouse gases:

Fossil fuels release greenhouse gases such as carbon dioxide which may be causing global warming

Acid Rain:

Fossil fuels can release sulphur dioxide when they burn. This dissolves in water vapour in the air producing acid rain. Acid rain kills trees, pollutes rivers and streams and damages buildings and monuments made from stone.

Info

Electricity demand changes during the day and changes with the time of year. Coal and nuclear power stations take a long time to start up so instead they run all the time supplying the ‘base load’. When demand for electricity is low, excess energy is stored using pumped storage systems.

When demand for electricity is higher than the base load, the stored energy can be used, along with energy from gas fired power stations (as they both have very short start times).

Cost Comparisons

Nuclear power stations are expensive to build, run and decommission. Fossil fuel power stations that use carbon capture technology to minimise the CO2 added to the atmosphere will be expensive. Renewable energy sources are expensive in install. Hydroelectric power works out cheapest overall. Offshore wind farms work out most expensive overall.